Project Name_________________________________	Project #________________

FUNCTIONAL TEST CHECKLIST

HVAC CONTROLS II

Location			Test #

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The system is complete and ready for functional testing. All associated prefunctional checklists are complete, approved and attached to this FT. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below.. Any outstanding items are noted as requiring correction / completion on attached list. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable functional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Functional checklist items are to be completed and approved before placing equipment into operation.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Tests performed with this FT are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

| Approved | Cont. | UTH |
| --- | --- | --- |
| DELIVERABLES |  |  |
| Record Submittal |  |  |
| Performance data |  |  |
| Service / maintenance contract |  |  |
| Wiring diagrams |  |  |
| Sequences and control strategies |  |  |
| O&M manuals |  |  |
| PERFORMANCE |  |  |
| All Temperature sensors/RTD’s calibrated |  |  |
| All Humidity sensors calibrated |  |  |
| All CO/CO2/VOC sensors calibrated |  |  |
| All actuators stroke full range and electric values documented |  |  |
| All other analog inputs calibrated (4-20mA, 1-5V, 2-10V, etc.) |  |  |
| All other analog outputs calibrated |  |  |

VFD’s

| MFR.: |  | (ATTACH START-UP REPORT) |
| --- | --- | --- |

| Equipment # (SVC) |  | ## HP |  | ## Model Number |  | ## Serial Number |
| --- | --- | --- | --- | --- | --- | --- |
| AHU # (cold deck) |  |  |  |  |  |  |
| AHU # (cold deck) |  |  |  |  |  |  |
| AHU # (cold deck) |  |  |  |  |  |  |
| AHU # (hot deck) |  |  |  |  |  |  |
| AHU # (hot deck) |  |  |  |  |  |  |
| AHU # (hot deck) |  |  |  |  |  |  |
| Chilled Water Pump# |  |  |  |  |  |  |
| Chilled Water Pump# |  |  |  |  |  |  |

# DUCT PRESSURE TAPS

| Equipment# |  | Floor # |  | Tap Location |
| --- | --- | --- | --- | --- |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |
| AHU # |  |  |  |  |

TEMPERATURE CONTROLS

| AHU# (cold deck) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmitters and Safeties |  | Model # |  | Installed |  | Gauge |  | Set Point |
| Low Temp. safety |  |  |  |  |  |  |  |  |
| Hi Temp. safety |  |  |  |  |  |  |  |  |
| Low Pressure safety |  |  |  |  |  |  |  |  |
| Hi pressure safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp. safety |  |  |  |  |  |  |  |  |
| Bearing Low temp safety |  |  |  |  |  |  |  |  |

| AHU# (cold deck) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmitters and Safeties |  | Model # |  | Installed |  | Gauge |  | Set Point |
| Low Temp. safety |  |  |  |  |  |  |  |  |
| Hi Temp. safety |  |  |  |  |  |  |  |  |
| Low Pressure safety |  |  |  |  |  |  |  |  |
| Hi pressure safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp. safety |  |  |  |  |  |  |  |  |
| Bearing Low temp safety |  |  |  |  |  |  |  |  |

Chilled Water Valve	Model#		Valve Size:	_  Pipe Size: ____

Action:		N/O / N/C

Pilot Positioner w/gauges	Y		N

Electric Actuator		Y		N

Miscellaneous:

Location	Installed		Range ˚F

Thermometers	Between filters and coils	Y	N

Between coils	Y	N

Fan Discharge	Y	N

Duct Pressure Gauges

Upstream of filters	Y	N			"WC

Across filters	Y	N			"WC

Between coils	Y	N			"WC

Fan plenum	Y	N			"WC

Fan Discharge	Y	N			"WC

TEMPERATURE CONTROLS

| AHU# (hot deck) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmitters and Safeties |  | Model # |  | Installed |  | Gauge |  | Set Point |
| Low Temp. safety |  |  |  |  |  |  |  |  |
| Hi Temp. safety |  |  |  |  |  |  |  |  |
| Hi pressure safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp. safety |  |  |  |  |  |  |  |  |
| Bearing Low temp safety |  |  |  |  |  |  |  |  |

| AHU# (hot deck) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmitters and Safeties |  | Model # |  | Installed |  | Gauge |  | Set Point |
| Low Temp. safety |  |  |  |  |  |  |  |  |
| Hi Temp. safety |  |  |  |  |  |  |  |  |
| Hi pressure safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp. safety |  |  |  |  |  |  |  |  |
| Bearing Low temp safety |  |  |  |  |  |  |  |  |

Steam Valve	Model#		Valve Size:	__   Pipe Size:  ____

Action:		N/O / N/C

Pilot Positioner w/gauges	Y		N

Electric Actuator

Miscellaneous:

Location	Installed		Range ˚F

Thermometers	Up stream of smoke purge damper	Y	N

Fan Discharge	Y	N

Duct Pressure Gauges

Across coils	Y	N			"WC

Across filters	Y	N			"WC

Between coils	Y	N			"WC

Fan plenum	Y	N			"WC

TEMPERATURE CONTROLS

| RAF # (return air fan) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmitters and Safeties |  | Model # |  | Installed |  | Gauge |  | Set Point |
| Low Temp. safety |  |  |  |  |  |  |  |  |
| Hi pressure safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp. safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp safety |  |  |  |  |  |  |  |  |

| RAF # (return air fan) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transmitters and Safeties |  | Model # |  | Installed |  | Gauge |  | Set Point |
| Low Temp. safety |  |  |  |  |  |  |  |  |
| Hi pressure safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp. safety |  |  |  |  |  |  |  |  |
| Bearing Hi temp safety |  |  |  |  |  |  |  |  |

Miscellaneous:

Location	Installed		Range

Duct pressure gauges	Up stream of fans	Y	N			"WC

Downstream of fans	Y	N			"WC

### BAROMETRIC DAMPERS

Location: 		Ste Point:	"WC

Ste Point:	"WC

Ste Point:	"WC

Ste Point:	"WC

ANNUNCATOR PANEL & FAN SAFETIES VERIFICATION

Each safety shall be checked to verify shutdown prior to building climatization

| AHU# (cold deck) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Light off |  | Fan Shut down |
| Bearing #1 |  | Y N |  | Y N |
| Bearing #2 |  | Y N |  | Y N |
| Hi pressure |  | Y N |  | Y N |
| Low pressure |  | Y N |  | Y N |
| Smoke |  | Y N |  | Y N |
| Hi Temp |  | Y N |  | Y N |
| Low Temp |  | Y N |  | Y N |

| AHU# (hot deck) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Light off |  | Fan Shut down |
| Bearing #1 |  | Y N |  | Y N |
| Bearing #2 |  | Y N |  | Y N |
| Hi pressure |  | Y N |  | Y N |
| Low pressure |  | Y N |  | Y N |
| Smoke |  | Y N |  | Y N |
| Hi Temp |  | Y N |  | Y N |
| Low Temp |  | Y N |  | Y N |

| RAF# (return air fan) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Light off |  | Fan Shut down |
| Bearing #1 |  | Y N |  | Y N |
| Bearing #2 |  | Y N |  | Y N |
| Hi pressure |  | Y N |  | Y N |
| Low pressure |  | Y N |  | Y N |
| Smoke |  | Y N |  | Y N |

STRATER WIRING (Note: in the off position the annunciator panel is de-energized)

Verify “on/off” is wired per detail

AHU# (CD)		Y         N

AHU# (HD)		Y         N

RAF# 			Y         N

CONTROL DAMPERS

RA – return air	HA – hot air

CA – cold air	MA – Mixed air

| Function |  | Room # |  | SAV/EP # |  | #### Damper installed |  | #### Access door installed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Outside air |  |  |  |  |  | Y N |  | #### Y N |
| Relief air (room) |  |  |  |  |  | Y N |  | Y N |
| Relief air (duct) |  |  |  |  |  | Y N |  | Y N |
| RA cold deck |  |  |  |  |  | Y N |  | Y N |
| RA hot deck |  |  |  |  |  | Y N |  | Y N |
| OA hot deck |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| RA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| CA floor # |  |  |  |  |  | Y N |  | Y N |
| MA floor # |  |  |  |  |  | Y N |  | Y N |
| MA floor # |  |  |  |  |  | Y N |  | Y N |
| MA floor # |  |  |  |  |  | Y N |  | Y N |
| MA floor # |  |  |  |  |  | Y N |  | Y N |
| HA floor # |  |  |  |  |  | Y N |  | Y N |
| HA floor # |  |  |  |  |  | Y N |  | Y N |
| HA floor # |  |  |  |  |  | Y N |  | Y N |
| HA floor # |  |  |  |  |  | Y N |  | Y N |
| HA floor # |  |  |  |  |  | Y N |  | Y N |
| HA floor # |  |  |  |  |  | Y N |  | Y N |

Comments:

Test Failure / Retest Required: The Test performed has not met the specified performance criteria and will require retesting before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: The test has been witnessed as meeting the performance requirements of the contract documents with any exceptions noted.

Owner’s Representative / Commissioning Authority	Date