Project Name			Project #

PREFUNCTIONAL CHECKLIST

ELECTRICAL TRANSFORMER

Location			Test #

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

| Approved | Cont. | UTH. |
| --- | --- | --- |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| INSTALLATION |  |  |
| Fittings complete and properly supported |  |  |
| Connectors Torqued to specified Tolerances |  |  |
| Phase to Phase and Phase-to-Ground resistance test with switches or circuit breakers in opened and closed position prior to energizing equipment |  |  |
| Properly labeled per contract documents |  |  |
| Verify equipment is tested and calibrated per manufacturers guidelines prior to energizing equipment (report attached) |  |  |
| Verify voltage taps are set |  |  |
| Proper Ground Rod or Device installed per contract documents |  |  |
| Grounding jumper installed |  |  |
| Ground bushing with ground wire installed |  |  |
| Transformer Turns Ratio (TTR) test complete (report attached) |  |  |
| Vibration isolation installed |  |  |

Transformer #						Room #

KVA Rating:						Serial #:

TAP Settings:	H1				H2				H3

Primary Side						MEGGER

Phase to Ground

Phase H1		Volts			Amps				OHMS

Phase H2		Volts			Amps				OHMS

Phase H3		Volts			Amps				OHMS

Secondary Side

Phase X1		Volts			Amps	[for MEGGER readings

Phase X2		Volts			Amps	see appropriate distribution

Phase X3		Volts			Amps	panel.]

Grounding Check:

Neutral to ground (in volts):				volts (zero required)

Neutral (secondary side) grounded to case:	Yڤ	Nڤ

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date