Project Name			 Project #

PREFUNCTIONAL CHECKLIST

EMERGENCY GENERATOR

Location			Test #

Make 					Model#

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

ENGINE:

Mfr.:							BHP:

No. of Cylinders:	V-					Cooling Medium:

Fuel:					 		Fuel Rate:		CFH

Fuel Pressure:

Turbocharger MFR:

Intercooler:	Y / N

Spark Plugs MFR:						Spark Plug #:

ALTERNATOR:

Drive Direct:						Belt Driven:

RPM:					Type:				PF:

Output Voltage:				/			/	(name plate)

HEATER SIZE AND VOLTAGE:				/		Volts

STARTING:

Batteries:					Volt	Number of Batteries:

MFR:						Battery Charger MFR:

Location of Charger:

| Approved | Cont. | UTH |
| --- | --- | --- |
| Manufacturer product data sheet |  |  |
| Shop drawings |  |  |
| INSTALLATION |  |  |
| Housekeeping pad per contract documents |  |  |
| Regulator sufficient for engine |  |  |
| Air circulation adequate |  |  |
| Exhaust w/muffler per contract documents |  |  |
| Electrical connections per contract documents |  |  |
| Antifreeze installed in water-cooled engines |  |  |
| Service access adequate |  |  |
| Coolant installed |  |  |
| Oil installed |  |  |
| Oil filter installed |  |  |
| Fuel strainer installed |  |  |
| Fuel source adequate for operation |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date