Project Name			Project #

FUNCTIONAL TEST CHECKLIST

INTERIOR LIGHT FIXTURES & LOADS

Location			Test #

Submittal / Approvals

Submittal.  All components of	 the work being installed have been submitted, reviewed and approved for use on this project. The system is complete and ready for functional testing. All associated prefunctional checklists are complete, approved and attached to this FT. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below.. Any outstanding items are noted as requiring correction / completion on attached list. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable functional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Functional checklist items are to be completed and approved before placing equipment into operation.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Tests performed with this FT are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

| Approved | Cont. | UTH. |
| --- | --- | --- |
| Record Submittal |  |  |
| O&M manuals |  |  |
| INSTALLATION |  |  |
| Fittings complete and properly supported |  |  |
| Bulbs as specified |  |  |
| Properly labeled |  |  |
| Proper ballast installed |  |  |
| Lens/globe as specified |  |  |
| Occupancy switch operates properly |  |  |
| Lights aligned per contract documents |  |  |
| Nighttime verification of lighting complete |  |  |
| Burn-in complete per contract documents |  |  |
| Power switch operates properly |  |  |

| Panel # | Circuit # | Load (amps) | Circuit # | Load (amps) |
| --- | --- | --- | --- | --- |
|  | 1 |  | 28 |  |
|  | 2 |  | 29 |  |
|  | 3 |  | 30 |  |
|  | 4 |  | 31 |  |
|  | 5 |  | 32 |  |
|  | 6 |  | 33 |  |
|  | 7 |  | 34 |  |
|  | 8 |  | 35 |  |
|  | 9 |  | 36 |  |
|  | 10 |  | 37 |  |
|  | 11 |  | 38 |  |
|  | 12 |  | 39 |  |
|  | 13 |  | 40 |  |
|  | 14 |  | 41 |  |
|  | 15 |  | 42 |  |
|  | 16 |  | 43 |  |
|  | 17 |  | 44 |  |
|  | 18 |  | 45 |  |
|  | 19 |  | 46 |  |
|  | 20 |  | 47 |  |
|  | 21 |  | 48 |  |
|  | 22 |  | 49 |  |
|  | 23 |  | 50 |  |
|  | 24 |  | 51 |  |
|  | 25 |  | 52 |  |
|  | 26 |  | 53 |  |
|  | 27 |  | 54 |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date