Project Name			Project #

PREFUNCTIONAL CHECKLIST

DUCTWORK

Location			Test #

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Sprinkler Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

| Approved | Cont. | UTH. |
| --- | --- | --- |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| Shop Drawings |  |  |
| INSTALLATION |  |  |
| Proper gauge sheetmetal verified |  |  |
| Large ductwork stiffener plates installed per contract documents |  |  |
| Duct properly supported |  |  |
| Required vibration isolation installed |  |  |
| Hard block insulation installed at duct supports |  |  |
| Joints properly sealed per contract documents |  |  |
| Ductwork pressure tested per contract documents (report attached) |  |  |
| Access doors properly labeled and located correctly |  |  |
| Ducts properly labeled |  |  |
| Ducts properly insulated / verify density & thickness |  |  |
| Duct clean of all debris and dust |  |  |
| All openings in duct sealed to keep out dust |  |  |
| Isolation dampers, fire dampers, balancing dampers, and misc dampers installed per contract documents |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date