Project Name			Project #

PREFUNCTIONAL CHECKLIST

RADIO ISOTOPE FUME HOOD

Location			Test #

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

Manf. 		Model #

Serial # 		CFM

| Approved | Cont. | UTH. |
| --- | --- | --- |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| Installation and startup manual and plan |  |  |
| INSTALLATION |  |  |
| Permanent labels affixed |  |  |
| Casing condition good: no dents, leaks, door gaskets installed |  |  |
| Liner as specified |  |  |
| Work Surface as specified |  |  |
| Cup Sink as specified |  |  |
| Baffle Adjustment as specified |  |  |
| Water fixture connected and operable |  |  |
| Gas fixture connected and operable |  |  |
| Vacuum fixture connected and operable |  |  |
| Air fixture connected and operable |  |  |
| Plumbing waste line connected |  |  |
| Fire and balance dampers installed (if required) |  |  |
| Backdraft dampers installed, per drawings, and operate freely |  |  |
| Flow monitor installed |  |  |
| Exhaust collar as specified |  |  |
| Interior access panels w/ gaskets as specified |  |  |
| Sash Stop as specified (manual and automatic reset) |  |  |
| Sash Design as specified, including safety glass, horiz/vert w/ counter balance, (verify sash operation) |  |  |
| Electrical |  |  |
| Electrical connections complete |  |  |
| Disconnect switch installed |  |  |
| Fan overload heaters in place |  |  |
| Hood Outlets as specified |  |  |
| Interior Hood lighting as specified |  |  |
| Alarm as specified and verified (report attached) |  |  |
| Fan rotation correct |  |  |
| Electrical interlocks verified |  |  |
| Any fan status indicators functioning |  |  |
| No unusual vibration or and noise |  |  |
| Fuse Size ___________________ |  |  |
| Heater Size _________________ |  |  |
| Starter Size _________________ |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date