Project Name			Project #

SPLIT SYSTEM (Refrigerant) FUNCTIONAL TESTING

Location			Test #

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for functional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This functional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable functional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Functional checklist items are to be completed as part of installation verification.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

| Condenser Information |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |  |
| Serial Number |  |  |  |  | Capacity |  |  |  |  | Refrigerant |  |
| Volts/Phase |  |  | Function |  |  | Service Area |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |

| FCU/AHU Information |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |  |
| Serial Number |  |  |  |  | Motor HP |  |  |  |  | RPM |  |
| Volts/Phase |  |  | Function |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |

| Approved | Cont. | UTH |
| --- | --- | --- |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| INSTALLATION |  |  |
| Manufacturer Representative’s Start-Up (report attached) |  |  |
| Condenser properly secured |  |  |
| Roof penetrations sealed per contract documents |  |  |
| Wall/Floor penetrations sealed in accordance with contract documents |  |  |
| Electrical voltage/connections and disconnects verified and labeled |  |  |
| Suction risers and traps installed per manufacturers recommendations |  |  |
| Suction and Discharge pressures verified and recorded |  |  |
| Pipes properly insulated |  |  |
| Pipe Size and Type consistent with contract documents |  |  |
| Piping pressure tested per specifications (report attached) |  |  |
| Suction Line Filters installed |  |  |
| No leaking apparent around fittings |  |  |
| Isolation Valves installed |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority			Date