Project Name			Project #

PREFUNCTIONAL CHECKLIST

STAIRWELL PRESSURIZATION FAN

Location			Test #

Make 					Model#

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

MOTOR/ELECTRICAL:

Motor Manufacturer: 		Serial #

Motor Nameplate Data - 	Volt		FLA		HP

RMP		SVC Factor		Class		Frame

Actual per phase 	Volt		FLA

Starter Size		Fuse Size		Heater Size

| Approved | Cont. | UTH. |
| --- | --- | --- |
| INSTALLATION |  |  |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| Installation and startup manual and plan |  |  |
| Shop drawings |  |  |
| INSTALLATION |  |  |
| Permanent labels affixed |  |  |
| Casing condition good: no dents, leaks, door gaskets installed |  |  |
| Vibration isolators installed – shipping blocks removed |  |  |
| Equipment guards installed |  |  |
| Pulleys aligned |  |  |
| PolyChain or Vee Belt: Belt |  |  |
| Belt tension correct |  |  |
| Sheave size/number _______________________ |  |  |
| Plenums clear of debri |  |  |
| Fan wheel to shaft bolts torque properly |  |  |
| Fans rotate freely |  |  |
| Alignment check: Fan sheave to motor sheave: degrees (0° ± 0°) |  |  |
| Bearings lubricated |  |  |
| SSTL lube lines installed |  |  |
| Ductwork connected with flex connections |  |  |
| Backdraft dampers installed, per drawings, and operate freely |  |  |
| Duct system complete (report attached) |  |  |
| Electrical connections complete |  |  |
| Disconnect switch installed |  |  |
| Overload heaters in place |  |  |
| Control connections complete |  |  |
| VFD connected and operational (report attached) |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date