Project Name			Project #

PREFUNCTIONAL CHECKLIST

STEAM / CONDENSATE PIPING

Location			Test #

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Sprinkler Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

| Approved | Cont. | UTH. |
| --- | --- | --- |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| INSTALLATION |  |  |
| Underground piping restraints coated per specifications |  |  |
| Underground thrust blocks properly placed |  |  |
| Trench bedding material per contract documents |  |  |
| Backfill placed in lifts and compacted per contract documents |  |  |
| Pipe ID tape installed in trench per contract documents |  |  |
| Pipe fittings complete and pipes properly supported |  |  |
| Pipe hangers type, size and coating per contract documents |  |  |
| Pipe roller supports installed |  |  |
| Pipes properly labeled |  |  |
| Pipes properly insulated |  |  |
| Strainers in place and clean |  |  |
| Traps installed per contract documents |  |  |
| Isolation valves installed |  |  |
| Schedule 80 pipe installed for high pressure steam |  |  |
| PRV station installed per contract documents |  |  |
| Flushing and cleaning plan submitted and approved |  |  |
| Piping system properly flushed and cleaned (report attached) |  |  |
| 10% of strainers and Owner selected low point drains opened and witnessed by Owner to be clean. (list points checked) |  |  |
| Piping hydrostatically tested per specifications (report attached) |  |  |
| Water treatment report submitted according to contract documents |  |  |
| Heat tracing wire installed |  |  |
| Valves checklists complete |  |  |
| Valve labels permanently affixed |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date