Project Name			Project #

PREFUNCTIONAL CHECKLIST

Variable Air Volume Terminal Box

Location			Test #

Make 					Model#

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

Variable Air Volume PreFunctional Checklist

Submittal / Approvals

Submittal.  The above equipment and systems integral to them are complete and ready for functional testing.  The checklist items are complete and have been checked off only by parties having direct knowledge of the event, as marked below, respective to each responsible contractor.  This construction checklist is submitted for approval, subject to an attached list of outstanding items yet to be completed.  A Statement of Correction will be submitted upon completion of any outstanding areas.  None of the outstanding items preclude safe and reliable equipment testing and operation.

___ List attached.

| Mechanical Contractor | Date | Controls Contractor | Date |
| --- | --- | --- | --- |
|  |  | Sheet Metal Contractor | Date |
| TAB Contractor | Date | General Contractor | Date |

| VAV Information |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Make |  | Model Number |  |  |  |  |
| Serial Number |  | Function |  |  | Service Area |  |
| GPM |  | MBH |  |  |  |  |
| Comments: |  |  |  |  |  |  |

| Associated Checklists |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AHU |  | Heating Hot Water Piping |  | BAS |  |
| Ductwork |  | Other |  | Other |  |
| Comments: |  |  |  |  |  |

| Requested documentation submitted | Rec’d |  | Comments |
| --- | --- | --- | --- |
| Manufacturer’s cut sheets |  |  |  |
| Performance data (pump curves, coil data, etc.) |  |  |  |
| Installation and startup manual and plan |  |  |  |
| O&M manuals |  |  |  |
| Factory test results |  |  |  |
| Sequences and control strategies |  |  |  |
| Warranty Certificate |  |  |  |
| Comments: |  |  |  |

| Installation Checks |  |  |  |  |
| --- | --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  |  | NA | Comment |
| General |  |  |  |  |
| General appearance good, no apparent damage |  |  |  |  |
| Installation is per manufacturers instructions |  |  |  |  |
| Permanent labels affixed |  |  |  |  |
| Casing condition good: no dents, leaks, door gaskets installed |  |  |  |  |
| Record drawings updated to reflect the actual installation |  |  |  |  |
| Access doors close tightly - no leaks |  |  |  |  |
| Connection between duct and unit tight and in good condition |  |  |  |  |
| Vibration isolation equipment installed & released from shipping locks |  |  |  |  |
| Maintenance access acceptable for unit and components |  |  |  |  |
| Sound attenuation installed |  |  |  |  |
| Thermal insulation properly installed and according to specification |  |  |  |  |
| Instrumentation installed according to specification (thermometers, pressure gages, flow meters, etc.) |  |  |  |  |
| Clean up of equipment completed per contract documents |  |  |  |  |
| Verify that inlet conditions are OK: Smooth, round, straight duct for at least 3 duct diameters when possible and 2 diameters minimum for velocity pressure sensor and 3 to 5 diameters for single point electronic sensors, else airflow straighteners |  |  |  |  |
| Verify that outlet conditions are OK, per manufacturer’s recommendations |  |  |  |  |
| Valves, Piping and Coils |  |  |  |  |
| Pipe fittings complete and pipes properly supported |  |  |  |  |
| Pipes properly labeled |  |  |  |  |
| Pipes properly insulated |  |  |  |  |
| Strainers in place and clean; blowdown installed |  |  |  |  |
| Piping system properly flushed |  |  |  |  |
| No leaking apparent around fittings |  |  |  |  |
| All coils are clean and fins are in good condition |  |  |  |  |
| All condensate drain pans clean and slope to drain, per spec |  |  |  |  |
| Valves properly labeled |  |  |  |  |
| Valves installed in proper direction |  |  |  |  |
| OSAT, MAT, SAT, RAT, chilled water supply sensors properly located and secure (related OSAT sensor shielded) |  |  |  |  |
| Sensors calibrated |  |  |  |  |
| P/T plugs and isolation valves installed per drawings |  |  |  |  |
| Dampers |  |  |  |  |
| Smoke and fire dampers installed properly per contract docs (proper location, access doors, appropriate ratings verified) |  |  |  |  |
| All dampers open fully (Hot Duct ___, Cold Duct ___) |  |  |  |  |
| All dampers close tightly (Hot Duct ___, Cold Duct ___) |  |  |  |  |
| All damper actuators installed (Hot Duct ___, Cold Duct ___) |  |  |  |  |
| Ducts |  |  |  |  |
| Sound attenuators installed |  |  |  |  |
| Duct joint sealant properly installed |  |  |  |  |
| No apparent severe duct restrictions |  |  |  |  |
| Turning vanes in square elbows as per drawings |  |  |  |  |
| Branch duct control dampers operable |  |  |  |  |
| Ducts cleaned as per specifications |  |  |  |  |
| Balancing dampers installed as per drawings and TAB’s site visit |  |  |  |  |
| Electrical and Controls |  |  |  |  |
| All electric connections tight |  |  |  |  |
| Proper grounding installed for components and unit |  |  |  |  |
| Safeties in place and operable |  |  |  |  |
| Control system interlocks hooked up and functional |  |  |  |  |
| All control devices and wiring complete |  |  |  |  |
| Sensors and Gages |  |  |  |  |
| Temperature, pressure and flow gages and sensors installed |  |  |  |  |
| Piping gages, BAS and associated panel temperature and pressure readouts match |  |  |  |  |
| TAB |  |  |  |  |

Sensor and Actuator Calibration

All field-installed sensors and gages, and all actuators (dampers and valves) on this piece of equipment shall be calibrated in accordance with Calibration and Leak-by Test Procedures (Functional Test Checklist).  All test instruments shall have had a certified calibration within the last 12 months.  Sensors installed in the unit at the factory with calibration certification provided need not be field calibrated.

Proof of Test Instrument Calibration Attached:  _____   (Yes/No)

Proof of Calibration Certification Attached:  _____   (Yes/No)

| Sensor or Actuator Tag & Location | Location OK | 1st Gage or BAS Value | Instrument Measured Value | Final Gage or BAS Value | Pass Y / N |
| --- | --- | --- | --- | --- | --- |

Comments:

Exceptions Noted:

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date