Project Name			 Project #

INTEGRATED SYSTEM TEST REPORT

FIRE ALARM

Test #

All system associated with this test/demonstration have been completed and all Functional Test Checklists documenting this are attached. Prior integrated performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below.. Any outstanding items are noted as requiring correction / completion on attached list. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable functional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Functional checklist items are to be completed and approved before placing equipment into operation.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Tests performed with this IST are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

Initiate a fire alarm signal from various devices throughout the facility and record the response. Minimally, this shall be executed using one device of each type on each floor to demonstrate proper operation. If any test fails, the number of devices shall be doubled and retested. If any failure occurs during retesting, the demonstration shall be cancelled and the Contractor shall retest the system to verify compliance before requesting the next demonstration.

| Approved | Cont. | UTH. |
| --- | --- | --- |
| PERFORMANCE |  |  |
| Verify elevator returns to designated recall floor |  |  |
| Verify alternate recall floor for elevator return |  |  |
| Verify shunt-trip operation with elevator |  |  |
| Verify fire / smoke door hold-opens operate correctly |  |  |
| Verify HVAC controls regulate HVAC equipment correctly |  |  |
| Verify BAS controls regulate devices correctly |  |  |
| Verify security system responds to alarm in open mode to allow exit from facility |  |  |
| Verify remote annunciator operation |  |  |
| Verify areas that require negative pressure differential remain negative after alarm initiated |  |  |
| Verify start-up of fire pump / jockey pump |  |  |
| Verify initiation of stairwell pressurization fan |  |  |
| Verify initiation of any smoke control sequence operation |  |  |

Test Failure/Retest Required: The Test performed has not met the specified performance criteria and will require retesting before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: The test has been witnessed as meeting the performance requirements of the contract documents with any exceptions noted.

Owner’s Representative / Commissioning Authority	Date