Project Name			Project #

PREFUNCTIONAL CHECKLIST

DOMESTIC HOT WATER GENERATOR

Location			Test #

Make 					Model#

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

Equipment Number:				Serial Number:

Location:

Manufacturer:				Model #:

Heating Medium:			Steam Pressure:

Nameplate Data: Volts			Phase				Watts

Amps					Capacity:			gals

Circulation Pump

Equipment I.D.:		Manufacturer:

Mounting Configuration:				Model #:

(Vertical or Horizontal)

MOTOR/ELECTRICAL:

Motor Manufacturer: 		Serial #

Motor Nameplate Data - 	Volt		FLA		HP

RMP		SVC Factor		Class		Frame

Actual per phase 	Volt		FLA

Starter Size		Fuse Size		Heater Size

| Approved | Cont. | UTH. |
| --- | --- | --- |
| INSTALLATION |  |  |
| Manufacturer’s cut sheets |  |  |
| Performance data |  |  |
| Shop drawings |  |  |
| INSTALLATION |  |  |
| Pump body is accessible for service |  |  |
| Lubrication oil added per manufacturer requirements |  |  |
| Pump suction & discharge pressure gauges installed |  |  |
| Thermometer installed downstream of circulation pump |  |  |
| Impeller rotation verified |  |  |
| Flushing of piping system complete |  |  |
| Vacuum relief valve installed on cold water line |  |  |
| Isolation (ball) valves installed |  |  |
| Y-strainer installed in return: Strainer Cleaned |  |  |
| Heater relief valve set at PSI / Piped to drain with union |  |  |
| Solenoid operated relief valve piped to drain |  |  |
| Drain valve installed with hose bibb |  |  |
| Steam trap installed |  |  |
| Check valve installed in cold supply |  |  |
| 120 volt power supplied to unit controls |  |  |
| All Piping on heater has unions for equipment removal |  |  |
| Gas fuel line pressure tested per contract documents (report attached) |  |  |
| Regulator pressure verified for correct operation |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date