Project Name			 Project #

PREFUNCTIONAL CHECKLIST

DOMESTIC WATER BOOSTER PUMP

Location			Test #

Make 					Model#

Submittal / Approvals

Submittal.  All components of the work being installed have been submitted, reviewed and approved for use on this project. The components are complete and ready for prefunctional testing. Prior performance has been verified as complying with the contract documents as attested by the appropriate Contractor / Subcontractor signatures below. This prefunctional checklist is submitted for approval / witness, subject to an attached list of outstanding items yet to be completed. Any outstanding items will require completion before approval of this form can be executed. None of the outstanding items preclude safe and reliable prefunctional tests being performed.

___ List attached.

Mechanical Contractor		Date		Controls Contractor		Date

Electrical Contractor		Date		Plumbing Contractor		Date

Other Contractor		Date		General Contractor		Date

Prefunctional checklist items are to be completed as part of installation verification, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- Items that do not apply shall be noted with the reasons on this form (N/A = not applicable, BO = by others).

- Items on this checklist are to be verified by the Contractor as meeting the performance criteria of the contract documents before contacting Owner to witness.

MOTOR/ELECTRICAL:

Motor Manufacturer: 		Serial #

Motor Nameplate Data - 	Volt		FLA		HP

RMP		SVC Factor		Class		Frame

Actual per phase 	Volt		FLA

Starter Size		Fuse Size		Heater Size

PUMP

Equipment Number			Location:

Manufacturer:				Model #:

Medium Pumped:

Number of Pumps:				 						  GPM:			 			  @   			 TDH per pump

Suction pressure:		PSI		Discharge pressure:			PSI

Control Valves:  Size:			MFR

Qty:		Tank:  Size:					Capacity:		gals

| Approved | Cont. | UTH. |
| --- | --- | --- |
| Manufacturer product data sheet |  |  |
| O&M Manual |  |  |
| INSTALLATION |  |  |
| Flushing of piping system complete |  |  |
| Sterilization of piping system complete |  |  |
| Bearings lubricated |  |  |
| Impeller rotation verified as correct |  |  |
| Lag pump sequencing verified |  |  |
| Tank: Air fill valve & gauge installed |  |  |
| Drain lines installed |  |  |
| Electrical connections verified |  |  |
| All controls installed and operating properly |  |  |

Installation/application Rejected: The installation/application has not met the specified performance criteria and will require reinspection before approval.

Owner’s Representative / Commissioning Authority			Date

Approval: This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted

Owner’s Representative / Commissioning Authority	Date