Texas State Fire Marshal’s Office

P. O. Box 149221,  MC: 112-FM           Austin, Texas   78714-9221

	Contractor's Material and Test Certificate for A boveground Piping
	

	PROCEDURE

Upon completion of work, inspection and tests shall be made by the contractor’s representative and witnessed by an owner’s representative.  All defects shall be corrected and system left in service before contractor’s personnel finally leave the job.

A certificate shall be filled out and signed by both representatives.  Copies shall be prepared for approving authorities, owners, contractor, and the State Fire Marshal.  It is understood the owner’s representative’s signature in no way prejudices any claim against contractor for faulty material, poor workmanship, or failure to comply with approving authorities requirements or local ordinances.

	Property Name 
	Date 

	Property Address 
	City 
	State 

   
	Zip 

	
	Accepted by approving authorities(names) 

	PLANS
	Address 

	
	Installation conforms to accepted plans
(
Yes
(
No

Equipment used is approved?
(
Yes
(
No

If no, explain deviations 



	INSTRUCTIONS
	Has person in charge of fire equipment been instructed as to location of

control valves and care and maintenance of this new equipment?
(
Yes
(
No

If no, explain 

	
	Have copies of the following been left on the premises?


1.  System Components Instructions
(
Yes
(
No


2.  Care and Maintenance Instructions
(
Yes
(
No


3.  NFPA 25
(
Yes
(
No

	LOCATION

OF SYSTEM
	Supplies buildings
	 

	SPRINKLERS
	Make
	Model
	Year of Manufacture
	Orifice Size
	Quantity
	Temperature Rating

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	PIPE AND

FITTINGS
	Type of pipe 

	
	Type of fittings 

	ALARM

VALVE

OR FLOW

INDICATOR
	ALARM DEVICES
	Maximum time to operate through test connection

	
	Type
	Make
	Model
	Minutes
	Seconds

	
	
	
	
	
	

	
	
	
	
	
	

	
	DRY VALVE
	Q.O.D.

	
	Make
	Model
	Serial No.
	Make
	Model
	Serial No.

	
	
	
	
	
	
	

	DRY PIPE

OPERATING
	
	Time to trip through test connection1,2
	Water Pressure
	Air Pressure
	Trip Point Air Pressure
	Time water reached test outlet1,2
	Alarm operated properly

	TEST
	
	Minutes
	Seconds
	psi
	psi
	psi
	Minutes
	Seconds
	Yes
	No

	
	Without Q.O.D.
	
	
	
	
	
	
	
	
	

	
	With Q.O.D.
	
	
	
	
	
	
	
	
	

	
	If no, explain 

	
	Operation
(
Pneumatic
(
Electric
(
Hydraulic

	
	Piping supervised 
(
Yes
(  
No
	Detection media supervised
(
Yes
(
No

	
	Does valve operate from the manual trip, remote, or both control stations?
(
Yes
(
No

	DELUGE &

PREACTION
	Is there an accessible facility in each circuit

for testing?
(
Yes
(
No
	If no, explain 

	VALVES
	Make
	Model
	Does each circuit operate supervision loss alarm?
	Does each circuit operate valve release?
	Maximum time to operate release?

	
	
	
	Yes
	No
	Yes
	No
	Minutes
	Seconds

	
	
	
	
	
	
	
	
	



1 Measured from time inspector’s test connection is opened.


2 NFPA 13 only requires the 60-second limitation in specific sections

	PRESSURE
	Location &Floor
	Make & Model
	Setting
	STATIC PRESSURE
	RESIDUAL PRESSURE (flowing)
	FLOW RATE

	REDUCING
	
	
	
	Inlet (psi)
	Outlet (psi)
	Inlet (psi)
	Outlet (psi)
	Flow (GPM)

	VALVE TEST
	
	
	
	
	
	
	
	

	TEST DESCRIPTION
	HYDROSTATIC:  Hydrostatic tests shall be made at not less than 200 psi (13.6 bars) for two hours or 50 psi (3.4 bars) above static pressure in excess of 150 psi (10.2 bars) for two hours.  Differential Dry-Pipe Valve clappers shall be left open during test to prevent damage.  All aboveground piping leakage shall be stopped.

PNEUMATIC:  Establish 40 psi (2.7 bars) air pressure and measure drop, which shall not exceed 1-1/2 psi (0.1 bars) in 24 hours.  Test pressure tanks at normal water level and air pressure and measure air pressure drop, which shall not exceed 1-1/2 psi (0.1 bars) in 24 hours.

	
	All pipe hydraulically tested at:


psi (_______ bar) for


hrs

Dry Pipe pneumatically tested
(
Yes
(
No

Equipment operates properly
(
Yes
(
No
	If no, state reason 



	
	Do you certify as the sprinkler contractor that additives and corrosive chemicals, sodium silicate or derivatives of sodium silicate, brine, or other corrosive chemicals were not used for testing systems or stopping leaks?                   (
Yes
(
No

	TESTS
	DRAIN TEST
	Reading of gage located near 

water supply test connection:
 

psi (________ bar)
	Residual pressure with valve 

in test connection open wide. 

psi (________ bar)

	
	Underground mains and lead in connections to system risers flushed before connection made to sprinkler piping

Verified by copy of the Contractor’s Material & Test
(
Yes
(
No

Certificate for Underground Piping.

Flushed by installer of underground sprinkler piping.
(
Yes
(
No
	

	
	
	Other, explain 

	
	If powder driven fasteners are used in concrete, has representative 

sample testing been satisfactorily completed?
(
Yes
(
No
	If no, explain 

	BLANK TESTING

GASKETS
	Number used 
	Locations 
	Number removed 

	
	Welded piping
(
Yes
(
No

	
	If yes…

	WELDING
	Do you certify as the sprinkler contractor that welding procedures comply with the requirements of

at least AWS B2.1?
(
Yes
(
No

Do you certify that the welding was performed by welders qualified in compliance with the requirements

of at least AWS B2.1?
(
Yes
(
No

Do you certify that the welding was carried out in compliance with a documented quality control procedure

to ensure that all discs are retrieved, that openings in piping are smooth, that slag and other welding

residue are removed, and that the internal diameters of piping are not penetrated?
(
Yes
(
No

	CUTOUTS

(DISCS)
	Do you certify that you have a control feature to ensure that all cutouts (disks) are retrieved?
(
Yes
(
No

	HYDRAULIC

DATA

NAMEPLATE
	Nameplate provided?


(
Yes
(
No
	If no, explain 

	REMARKS
	DATE left in service with all control valves open: 



	Signature


	Name of sprinkler contractor
	C  of  R  No.     SCR-



	
	Contractor’s Address
	City
	State
	Zip

	
	Tests witnessed by

	
	For property owner (signed)
Title 
Date 

	
	For sprinkler contractor (signed)
Title
Date 

	Additional explanation and notes

	
	

	
	I certify that the information herein is true and that this sprinkler system was installed in accordance with Article 5.43-3, Texas Insurance Code and the rules and standards adopted by the State Fire Marshal’s Office.

	RME
	Responsible Managing Employee (signature) 

	CERTIFICATION
	Responsible Managing Employee (print or type name) 

	
	RME License Number 
	Date 


DISTRIBUTION:
Original COPY 1 posted at site.    
COPY 3 for approving authority.  


COPY 2 for the installing firm.

COPY 4 for the Texas State Fire Marshal’s Office.

SF041 Rev. 09/05                                       Contractor's Material and Test Certificate for Aboveground Piping
Page 1 of 2


