Close Out Documents Review

ALL Documents to be bookmarked for Owners’ use

(strike through unused sections)

Close Outs:

Table of Contents

Subcontractor Contact List, name of company, contact phone number and email

Substantial Completion Certification

Final Completion Certification

Architects letters of acceptance (both Substantial and Final completion)

Substantial Completion Punchlist (signed and dated on each completed item)

Final Lien, claim waivers and affidavits of payment

Contractor and sub-contractor’s warranties, asbestos/lead/silica statements (each notarized)

Final Pay Application

Consent of Surety

Final HUB Subcontracting Plan

Evidence of Final and Continuing Insurance Coverage

TDLR Reports, Windstorm, TAS, Boiler, etc.

SWPPP

Attic Stock Transmittals

Waste Manifests

OAC Meeting notes and sign-in sheets

Life Safety Documentation:

- Fire Alarm System Certification & As-builts

- Fire Damper Verifications

- Fire Extinguisher Locations Map

- Sprinkler System Certification and As-builts

- Med Gas Certification

- Exit Lighting/Wayfinding

- Domestic Water Sterilization Reports

- Elevator Certifications

Commissioning: Prefunctional/Functional/Start-up sheets must be signed, dated and consecutively numbered by division/type

Commissioning Cont.:                                                                                                                              pg.2

Table of contents (strike through unused sections)

Cx Plan

Responsibility Matrix

Equipment Matrix

Observation Reports

Cx Meeting Minutes and sign-in sheets

EFIT

Final Commissioning Report

TAB

In-Wall/ Overhead Inspections- include invite list, full page punch lists with sign offs

Concrete/Steel Inspections- include 3rd Party Reports

Roofing and Water Proofing Inspections including 3rd Party Inspections

Manufacturer’s Representative’s Certification Statements (UTHSC-H)

Plumbing Inspections

- Pipe Pressure Tests with separate folders for sanitary, domestic, storm and natural gas

- Backflow Preventer Certifications

- Equipment and Fixture Testing

- Water temperature verification

- Med Gas Pipe Pressure Testing

- R/O and D/I Water Testing

Mechanical Inspections

- Duct Pressure testing

- Insulation Inspections

- AHU pressure, deflection testing and start-up reports

- VAV leak testing/inspection and start-up reports

- Chiller, Boiler, Pumps, CHW/HW Piping, Steam Systems and Condensing Unit start-ups and inspections

- BAS Point-to-Point Verifications

Electrical Inspections

- Circuit Verification

- Electrical Cabling and Terminations Inspections and Meg Testing

- Conduit, Raceways and Boxes Inspections

- VFD start-up and testing (including F/A shutdown)

- Lightning Protection Inspections and UL Master Certificate

Fire Alarm/ Fire Protection Inspections                                                                                              pg. 3

- Fire Alarm testing/verification and certification

- Fire Alarm as-builts

- Sprinkler pressure testing and certification

- Sprinkler Flow Testing

- Sprinkler As-builts

Telecommunications

- Cable Test Reports and inspections- sub contractor provided

- Cable Testing and Inspections

- Door Hardware/Software Verification

- Camera Verifications

- UPD Verifications and Sign-off of Card Readers and/or Cameras

Operation and Maintenance Manuals: by division and spec number, each to be grouped together and clearly marked as to what was used on project:

Record Submittal- Final “Approved” version

O&M’s that include maintenance intervals and procedures

Shop Drawings

Parts List with exploded view and part numbers

Record Specs complete and bookmarked

Record Drawings bookmarked

- Each page signed and dated by Authorized Contractor Representative

- PDF and CAD

- Red/Blue line drawings from subs

- RFI’s numbered sequentially and easily identifiable by subject

Training Videos- Professional quality and useable

Progress Photos- by date

BIM/Modeling Programs/Documents –useable by University

Misc:

- Finish Schedule

- Any Specialty Equipment Information