SECTION 09 91 00

PAINTING

PART 1 GENERAL

  - SUMMARY

- Provide painting in accordance with requirements of the Contract Documents.

- Section includes:

  - Surface preparation and the application of paint systems on exterior substrates.

  - Surface preparation and the application of paint systems on interior substrates.

- Related Requirements:

  - Section 05 12 00 "Structural Steel Framing" for shop priming of metal substrates with primers specified in this Section.

  - Section 09 96 53 "Elastomeric Coatings" for special coatings on concrete and plaster.

  - DEFINITIONS

- Gloss Level 1: Not more than 5 units at 60 degrees and 10 units at 85 degrees, according to ASTM D 523.

- Gloss Level 3: 10 to 25 units at 60 degrees and 10 to 35 units at 85 degrees, according to ASTM D 523.

- Gloss Level 4: 20 to 35 units at 60 degrees and not less than 35 units at 85 degrees, according to ASTM D 523.

- Gloss Level 5: 35 to 70 units at 60 degrees, according to ASTM D 523.

- Gloss Level 6: 70 to 85 units at 60 degrees, according to ASTM D 523.

- Gloss Level 7: More than 85 units at 60 degrees, according to ASTM D 523.

  - ACTION SUBMITTALS

- Product Data: For each type of Paint System, submit product data cut sheets, including preparation requirements and application instructions.

  - Formulate product data cut sheets into sets for each Paint System required.

- Samples for Initial Selection: For each type of topcoat product.

- Samples for Verification: For each type of paint system and each color and gloss of topcoat.

  - Step coats on Samples to show each coat required for system.

  - Label each Sample with Paint System designation.

  - Label each Sample for location and application area.

  - Dry samples a minimum of 7-days before submitting.

  - Submit Samples on the following substrates for the Architect's review of color and texture only:

    - Concrete: Provide two 4-inch- (100-mm-) square samples for each color and finish.

    - Concrete Masonry: Provide two 4-by-8-inch (100-by-200-mm) samples of masonry, with mortar joint in the center, for each finish and color.

    - Painted Wood: Provide two 12-inch-(300-mm-) square samples of each color and material on hardboard.

    - Stained or Natural Wood: Provide two 4-by-8-inch (100-by-200-mm) samples of natural- or stained-wood finish on actual wood surfaces.

    - Ferrous / Galvanized Metal: Provide two 4-inch-(100-mm-) square samples of flat metal and two 8-inch-(200-mm-) long samples of solid metal for each color and finish.

    - Gypsum Board / Plaster: Provide two 8-inches (200-mm) square samples on rigid backing.

- Product List: For each product indicated, include the following:

  - Cross-reference to paint system and locations of application areas. Use same designations indicated on Drawings and in schedules.

  - VOC content.

  - MAINTENANCE MATERIAL SUBMITTALS

- Furnish extra materials, from the same product run, that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

  - Paint: 5 percent, but not less than 1 gal. (3.8 L) of each material and color applied.

  - QUALITY ASSURANCE

- Mockups: Apply mockups of each paint system indicated and each color and finish selected to verify preliminary selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

  - Architect will select one surface to represent surfaces and conditions for application of each paint system specified in Part 3.

    - Vertical and Horizontal Surfaces: Provide samples of at least 100 sq. ft. (9 sq. m).

    - Other Items: Architect will designate items or areas required.

  - Final approval of color selections will be based on mockups.

    - If preliminary color selections are not approved, apply additional mockups of additional colors selected by Architect at no added cost to Owner.

  - Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

  - Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

  - DELIVERY, STORAGE, AND HANDLING

- Store materials not in use in tightly covered containers in well-ventilated areas with ambient temperatures continuously maintained at not less than 45 deg F (7 deg C).

  - Maintain containers in clean condition, free of foreign materials and residue.

  - Remove rags and waste from storage areas daily.

  - FIELD CONDITIONS

- Apply paints only when temperature of surfaces to be painted and ambient air temperatures are between 50 and 95 deg F (10 and 35 deg C).

- Do not apply exterior paints in snow, rain, fog, or mist; when relative humidity exceeds 85 percent; at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

- Do not apply interior paints when relative humidity exceeds 85 percent; at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

PART 2 PRODUCTS

2.1	MANUFACTURERS

- Products: Subject to compliance with requirements, provide one of the products in the paint schedules.

- Manufacturers: The following manufacturers are referred to in the paint schedules by use of name or shortened versions of their names, which are shown in parentheses:

1.	Pittsburgh Paints (PPG)

2.	Rust-Oleum (RO)

3.	Sherwin-Williams (S-W)

2.2	PAINT, GENERAL

A.	Material Compatibility:

1.	Provide materials for use within each paint system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

2.	For each coat in a paint system, provide products recommended in writing by manufacturers of topcoat for use in paint system and on substrate indicated.

B.	VOC Content: Products shall comply with VOC limits of authorities having jurisdiction and, for interior paints and coatings applied at Project site, the following VOC limits, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

1.	Flat Paints and Coatings: 50 g/L.

2.	Nonflat Paints and Coatings: 150 g/L.

3.	Dry-Fog Coatings: 400 g/L.

4.	Primers, Sealers, and Undercoaters: 100 g/L.

5.	Anticorrosive and Antirust Paints Applied to Ferrous Metals: 250 g/L.

6.	Zinc-Rich Industrial Maintenance Primers: 340 g/L.

7.	Pretreatment Wash Primers: 420 g/L.

8.	Floor Coatings: 100 g/L.

9.	Shellacs, Clear: 730 g/L.

10.	Shellacs, Pigmented: 550 g/L.

C.	Colors: Provide custom colors of the finished paint systems to match the Architect's samples.

2.3	SOURCE QUALITY CONTROL

A.	Testing of Paint Materials: Owner reserves the right to invoke the following procedure:

1.	Owner will engage the services of a qualified testing agency to sample paint materials. Contractor will be notified in advance and may be present when samples are taken. If paint materials have already been delivered to Project site, samples may be taken at Project site. Samples will be identified, sealed, and certified by testing agency.

2.	Testing agency will perform tests for compliance with product requirements.

3.	Owner may direct Contractor to stop applying paints if test results show materials being used do not comply with product requirements. Contractor shall remove noncomplying paint materials from Project site, pay for testing, and repaint surfaces painted with rejected materials. Contractor will be required to remove rejected materials from previously painted surfaces if, on repainting with complying materials, the two paints are incompatible.

PART 3 EXECUTION

3.1	EXAMINATION

A.	Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

B.	Maximum Moisture Content of Substrates: When measured with an electronic moisture meter as follows:

1.	Concrete: 12 percent.

2.	Masonry (clay and concrete masonry units): 12 percent.

3.	Wood: 15 percent.

4.	Portland Cement Plaster: 12 percent.

5.	Gypsum Board: 12 percent.

C.	Gypsum Board Substrates: Verify that finishing compound is sanded smooth.

D.	Plaster Substrates: Verify that plaster is fully cured.

E.	Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

F.	Proceed with coating application only after unsatisfactory conditions have been corrected.

1.	Application of coating indicates acceptance of surfaces and conditions.

3.2	PREPARATION

A.	Comply with manufacturer's written instructions and recommendations in "MPI Manual" [or “MPI Maintenance Repainting Manual”] or more stringent instructions listed below applicable to substrates and paint systems indicated.

B.	Remove hardware, covers, plates, and similar items already in place that are removable and are not to be painted. If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and painting.

1.	After completing painting operations, use workers skilled in the trades involved to reinstall items that were removed. Remove surface-applied protection.

C.	Clean substrates of substances that could impair bond of paints, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

1.	Remove incompatible primers and reprime substrate with compatible primers or apply tie coat as required to produce paint systems indicated.

D.	Concrete Substrates: Remove release agents, curing compounds, efflorescence, and chalk. Do not paint surfaces if moisture content or alkalinity of surfaces to be painted exceeds that permitted in manufacturer's written instructions.

E.	Masonry Substrates: Remove efflorescence and chalk. Do not paint surfaces if moisture content or alkalinity of surfaces or mortar joints exceeds that permitted in manufacturer's written instructions.

F.	Steel (Ferrous Metal) Substrates: Remove rust, loose mill scale, and shop primer if any. Clean using methods recommended in writing by paint manufacturer but not less than the following:

1.	SSPC-SP 3, "Power Tool Cleaning."

G.	Shop-Primed Steel Substrates: Clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop priming to comply with SSPC-PA 1 for touching up shop-primed surfaces.

H.	Aluminum Substrates: Remove loose surface oxidation.

I.	Wood Substrates:

1.	Scrape and clean knots. Before applying primer, apply coat of knot sealer recommended in writing by topcoat manufacturer for exterior use in paint system indicated.

2.	Sand surfaces that will be exposed to view, and dust off.

3.	Prime edges, ends, faces, undersides, and backsides of wood.

4.	After priming, fill holes and imperfections in the finish surfaces with putty or plastic wood filler. Sand smooth when dried.

J.	Cotton or Canvas Insulation Covering Substrates: Remove dust, dirt, and other foreign material that might impair bond of paints to substrates.

K.	Plastic Trim Fabrication Substrates: Remove dust, dirt, and other foreign material that might impair bond of paints to substrates.

3.3	APPLICATION

A.	Paint exposed surfaces, except where the paint schedules indicate that a surface or material is not to be painted or is to remain natural. If the paint schedules do not specifically mention an item or a surface, paint the item or surface the same as similar adjacent materials or surfaces whether or not schedules indicate colors. If the schedules do not indicate color or finish, the Architect will select from standard colors and finishes available.

1.	Painting includes identifying fire-rated wall assemblies with stenciled lettering above ceiling. Provide stenciled block letters in red to identify each rated wall assembly. Refer to Section 09 29 00

2.	Stairs: Paint exposed surfaces including underside.

B.	Paint Fire Suppression, Plumbing, HVAC, Electrical, Communication, and Electronic Safety and Security Work:

1.	Paint the following work where exposed in equipment rooms:

a.	Uninsulated metal piping.

b.	Uninsulated plastic piping.

c.	Pipe hangers and supports.

d.	Metal conduit.

e.	Plastic conduit.

f.	Tanks that do not have factory-applied final finishes.

g.	Duct, equipment, and pipe insulation having cotton or canvas insulation covering or other paintable jacket material.

2.	Paint the following work where exposed in occupied spaces:

a.	Equipment, including panelboards.

b.	Uninsulated metal piping.

c.	Uninsulated plastic piping.

d.	Pipe hangers and supports.

e.	Metal conduit.

f.	Plastic conduit.

g.	Duct, equipment, and pipe insulation having cotton or canvas insulation covering or other paintable jacket material.

h.	Unfinished and primed louvers and grilles, covers,

i.	Exposed and insulated pipes.

j.	Factory primed equipment.

3.	Paint portions of internal surfaces of metal ducts, without liner, behind air inlets and outlets that are visible from occupied spaces.

C.	Exterior metal items to be painted include, but are not limited to,

1.	Lintels.

2.	Bollards.

3.	Architectural steel.

4.	Galvanized metal flashings.

5.	Miscellaneous exposed steel.

6.	Steel doors and frames.

7.	Stairs [Refer to Section 09 96 56].

8.	Handrails and railings [Refer to Section 09 96 56].

D.	Do not paint prefinished items, concealed surfaces, finished metal surfaces, operating parts, and labels.

1.	Prefinished items include the following factory-finished components:

a.	Architectural woodwork and casework.

b.	Metal lockers.

c.	Elevator entrance doors and frames.

d.	Elevator equipment.

e.	Finished mechanical and electrical equipment.

f.	Light fixtures.

g.	Panelboards and switch gear

2.	Concealed surfaces include walls or ceilings in the following generally inaccessible spaces:

a.	Furred areas.

b.	Ceiling plenums.

c.	Utility tunnels.

d.	Pipe spaces.

e.	Duct shafts.

f.	Elevator shafts.

3.	Finished metal surfaces include the following:

a.	Anodized aluminum.

b.	Stainless steel.

c.	Chromium plate.

d.	Copper.

e.	Bronze and brass.

E.	Apply paints according to manufacturer's written instructions and recommendations in "MPI Manual."

1.	Use applicators and techniques suited for paint and substrate indicated.

2.	Paint surfaces behind movable items, equipment, furniture, etc. the same as similar exposed surfaces. Before final installation, paint surfaces behind permanently fixed items, equipment, furniture, etc with prime coat only.

3.	Paint both sides and edges of doors and entire exposed surface of door frames.

4.	Paint front and backsides of access panels, removable or hinged covers, and similar hinged items to match exposed surfaces.

5.	Paint entire exposed surface of window frames and sashes.

6.	Do not paint over labels of independent testing agencies or equipment name, identification, performance rating, or nomenclature plates.

7.	Primers specified in painting schedules may be omitted on items that are factory primed or factory finished if acceptable to topcoat manufacturers.

8.	Spray Equipment: Use airless spray equipment with orifice size as recommended by the manufacturer for the material [and texture] required. Confirm use of spray equipment is acceptable to building owner in occupied areas.

F.	Stipple Enamel Finish: Roll and redistribute paint to an even and fine texture. Leave no evidence of rolling, such as laps, irregularity in texture, skid marks, or other surface imperfections.

G.	Tint undercoats same color as topcoat, but tint each undercoat a lighter shade to facilitate identification of each coat if multiple coats of same material are to be applied. Provide sufficient difference in shade of undercoats to distinguish each separate coat.

H.	If undercoats or other conditions show through topcoat, apply additional coats until cured film has a uniform paint finish, color, and appearance.

I.	Apply paints to produce surface films without cloudiness, spotting, holidays, laps, brush marks, roller tracking, runs, sags, ropiness, or other surface imperfections. Cut in sharp lines and color breaks.

J.	Block Fillers: Apply block fillers to concrete masonry block at a rate to ensure complete coverage with pores filled.

K.	Prime Coats: Before applying finish coats, apply a prime coat of material, as recommended by the manufacturer, to material that is required to be painted or finished and that has not been prime coated by others. Recoat primed and sealed surfaces where evidence of suction spots or unsealed areas in first coat appears, to ensure a finish coat with no burn through or other defects due to insufficient sealing.

L.	Pigmented (Opaque) Finishes: Completely cover surfaces as necessary to provide a smooth, opaque surface of uniform finish, color, appearance, and coverage. Cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections will not be acceptable.

M.	Transparent (Clear) Finishes: Use multiple coats to produce a glass-smooth surface film of even luster. Provide a finish free of laps, runs, cloudiness, color irregularity, brush marks, orange peel, nail holes, or other surface imperfections.

1.	Provide satin finish for final coats.

3.4	FIELD QUALITY CONTROL

A.	Completed Work: Match approved samples for color, texture, and coverage. Remove, refinish, or repaint work not complying with requirements.

B.	Dry Film Thickness Testing: Owner may engage the services of a qualified testing and inspecting agency to inspect and test paint for dry film thickness.

1.	Contractor shall touch up and restore painted surfaces damaged by testing.

2.	If test results show that dry film thickness of applied paint does not comply with paint manufacturer's written recommendations, Contractor shall pay for testing and apply additional coats as needed to provide dry film thickness that complies with paint manufacturer's written recommendations.

3.5	CLEANING AND PROTECTION

A.	At end of each workday, remove rubbish, empty cans, rags, and other discarded materials from Project site.

B.	After completing paint application, clean spattered surfaces. Remove spattered paints by washing, scraping, or other methods. Do not scratch or damage adjacent finished surfaces.

C.	Protect work of other trades against damage from paint application. Correct damage to work of other trades by cleaning, repairing, replacing, and refinishing, as approved by Architect, and leave in an undamaged condition.

D.	At completion of construction activities of other trades, touch up and restore damaged or defaced painted surfaces.

3.6	EXTERIOR PAINTING SCHEDULES

A.	Steel, Unprimed (Su) Substrates:

1.	Paint System Su-A5: Semigloss, Exterior Acrylic-Enamel Finish: Primer is not required on shop-primed items; touch up shop primer where provided.

a.	PPG:

1)	First Coat:	90-712 Pitt-Tech Int/Ext Primer/Finish DTM,

2.5 mils DFT

2)	Second Coat:	Pitt-Tech Plus High Semi-Gloss DTM 90-1210 Series, 2.0 – 4.0 mils DFT.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series DTM Acrylic Primer 2.0

– 3.0 DFT.

2)	Second Coat:	Rust-Oleum 5200 Series DTM Acrylic Finish Gloss; 2.0 – 3.0 DFT.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer,

B66-310

(a) 2.0 – 4.0 DFT.

(b) Second Coat:	Sher-Cryl HPA Semi-Gloss, B66-350 Series (1)  2.5 – 4.0 DFT.

B.	Steel, Factory-Primed (Sp) Substrates:

1.	Paint System Sp-L5: Semigloss, Exterior Acrylic-Enamel Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Int/Ext Primer/Finish DTM 90-712 or

(a)	Pitt-Tech Plus Primer/Finish DTM 90-912 Series, 2.5 mils DFT.

(b)	Second Coat:	Pitt-Tech Plus Semi-Gloss DTM 90-1210 Series, 2.0 – 4.0 mils DFT.

(c)	Third Coat:	Same as second coat.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series DTM Acrylic Primer 2.0

– 3.0 DFT.

2)	Second Coat:	Rust-Oleum 5200 Series DTM Acrylic Finish Gloss; 2.0 – 3.0 DFT.

3)	Third Coat:	Same as second coat.

c.	SW:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer, B66-310

(a) 2.0 -4.0 DFT.

(b)	Second Coat:	Sher-Cryl HPA Semi-Gloss, B66-350 Series (1)  2.5 – 4.0 DFT.

(c)	Third Coat:	Same as second coat.

C.	Fiber-Reinforced Cement (Fc) Substrates:

1.	Paint System Fc-A3: Eggshell, Exterior Acrylic Finish:

a.	PPG:

1)	Primer:	Touch-up factory primer as required.

2)	Second Coat:	Speedhide Satin 6-2045XI, 1.4 mils DFT.

3)	Third Coat:	Same as second coat.

b.	RO:

1)	Primer:	Touch-up factory primer as required.

2)	Second Coat:	Zinsser Perma White Ext Satin 1.3 –

1.5 mils DFT.

3)	Third Coat:	Same as Second.

c.	SW:

1)	Primer:	Touch-up factory primer as required.

2)	Second Coat:	A-100 Exterior Latex Satin, A82-100 Series 1.2

– 1.5 mils DFT.

3)	Third Coat:	Same as second.

D.	Wood and Exterior Architectural Woodwork (Ww) Substrates:

1.	Paint System Ww-A3: Eggshell, Exterior Acrylic Finish:

a.	PPG:

1)	Primer:	Speedhide 6-609 Ext. House and Trim Wood Primer, 1.3 – 1.6 mils DFT.

2)	Second Coat:	Speedhide Satin 6-2045XI, 1.4 mils DFT.

3)	Third Coat:	Same as second coat.

b.	RO:

1)	Primer:	Touch-up factory primer as required.

2)	Second Coat:	Zinsser Perma White Ext Satin 1.3 –

1.5 mils DFT.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Exterior Latex Wood Primer, B42W8041.

2)	Second Coat:	A-100 Exterior Latex Satin, A82-100 Series 1.2 – 1.5 mils DFT.

3)	Third Coat:	Same as second.

3.7	INTERIOR PAINT SCHEDULES

A.	Concrete (Co) Substrates, Nontraffic Surfaces:

1.	Paint System Co-L6: Latex, Gloss Finish:

a.	PPG:

1)	First Coat:	Perma-Crete Alkali Resistant Primer 4-603.

2)	Second Coat: Series.	PPG Pitt-Tech Plus High Gloss DTM 90-1310

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Rust-Oleum 5200 Series DTM Acrylic Finish Gloss; 2.0 – 3.0 DFT.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Loxon Concrete & Masonry Primer, A24W8300.

2)	Second Coat: Series.	Pro Industrial Zero VOC Gloss Acrylic, B66-600

3)	Third Coat:	Same as second.

2.	Paint System Co-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Perma Crete Alkali Resistant Primer 4-603

2)	Second Coat:	Speedhide Interior Latex Semi-Gloss 6-500.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Semi Gloss.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Loxon Concrete & Masonry Primer, A24W8300.

2)	Second Coat:

B31-2600 Series.	ProMar 200 Zero VOC Semi-Gloss Acrylic,

3)	Third Coat:	Same as second.

3.	Paint System Co-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Perma Crete Alkali Resistant Primer 4-603.

2)	Second Coat:	Speedhide Interior Latex Eggshell 6-411.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Satin.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Loxon Concrete & Masonry Primer, A24W8300.

2)	Second Coat: Series.	ProMar 200 Zero VOC Eg-Shel B20-2600

3)	Third Coat:	Same as second.

4.	Paint System Co-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Perma Crete Alkali Resistant Primer 4-603.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Loxon Concrete & Masonry Primer, A24W8300.

2)	Second Coat: Series.	ProMar 200 Zero Odor Low VOC Flat, B30-2600

3)	Third Coat:	Same as second.

5.	Paint System Co-D1:Water-Based Dry-Fall, Flat Finish:

a.	PPG:

1)	First Coat:	Speedhide Super Tech Dry Fall 6-725XI

2)	Second Coat:	Speedhide Super Tech Dry Fall 6-725XI

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5100 Series Acrylic Dry Fall.

2)	Second Coat:	Rust-Oleum 5100 Series Acrylic Dry Fall.

c.	S-W:

1)	First Coat:	Waterborne Acrylic Dry Fall, B42W1.

2)	Second Coat:	Waterborne Acrylic Dry Fall, B42W1.

6.	Paint System Co-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Pitt-Glaze WB Acrylic Epoxy 16-551 Series.

2)	Second Coat:	Pitt-Glaze WB Acrylic Epoxy 16-551 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Sierra Performance No VOC S60 WB Epoxy

2)	Second Coat:	Sierra Performance No VOC S60 WB Epoxy

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Pre-Catalyzed Water Based Epoxy Semi-Gloss, K46-150 Series.

2)	Second Coat:	Pre-Catalyzed Water Based Epoxy Semi-Gloss, K46-150 Series.

B.	Brick / Clay Masonry (Br) Substrates:

1.	Paint System Br-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Perma-Crete Alkali Resistant Primer 4-603.

2)	Second Coat:	Speedhide Zero VOC Latex Flat 6-4110XI Series.

3)	Third Coat:	Same as second coat.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg.

3)	Third Coat:	Same as Second.

c.	SW:

1)	First Coat:	Loxon Concrete & Masonry Primer, A24W8300.

2)	Second Coat:	ProMar 200 Zero VOC Flat, B30-2600 Series.

3)	Third Coat: Same as second coat.

C.	Concrete Masonry Unit (Cm) Substrates

1.	Paint System Cm-L6: Latex, Gloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Latex Block Filler 6-7

2)	Second Coat:	Pitt-Tech Plus High Gloss DTM 90-1310 Series

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish

2)	Second Coat:	Rust-Oleum 5200 Series DTM Acrylic Finish Gloss; 2.0 – 3.0 DFT.

3)	Third Coat:	Same as Second

c.	S-W:

1)	First Coat:	PrepRite Block Filler, B25W25.

2)	Second Coat: Series.	Pro Industrial Zero VOC Gloss Acrylic, B66-600

3)	Third Coat:	Same as second.

2.	Paint System Cm-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Latex Block Filler 6-7

2)	Second Coat:	Speedhide Interior Latex Semi-Gloss 6-500.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Primer & Finish.

2)	Second Coat:	Rust-Oleum 5200 Series DTM Acrylic.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	PrepRite Block Filler, B25W25.

2)	Second Coat:

B31-2600 Series.	ProMar 200 Zero VOC Semi-Gloss Acrylic,

3)	Third Coat:	Same as second.

3.	Paint System Cm-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Speedhide Latex Block Filler 6-7.

2)	Second Coat:	Speedhide Interior Latex Eggshell 6-411.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Satin.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	PrepRite Block Filler, B25W25.

2)	Second Coat: Series.	ProMar 200 Zero VOC Eg-Shel, B20-2600

3)	Third Coat:	Same as second.

4.	Paint System Cm-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Speedhide Latex Block Filler 6-7.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

c.

5.	Paint System Cm-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Latex Block Filler 6-15

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Water Tite Flexible Acrylic Primer and Finish.

2)	Second Coat:	Sierra Perfromance S60 No VOC WB Epoxy.

3)	Third Coat:	Same as Second.

c.	S-W:

1)	First Coat:	Loxon Block Surfacer, A24W200.

2)	Second Coat: K46-150 Series.	Pre-Catalyzed Water Based Epoxy Semi-Gloss,

3)	Third Coat: Same as second.

D.	Steel, Unprimed (Su) Substrates

1.	Paint System Su-L6: Latex, Gloss Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Plus Primer/Finish DTM 90-912 Series.

2)	Second Coat:	Pitt-Tech Plus High Gloss DTM 90-1310 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: Series.	Pro Industrial Zero VOC Gloss Acrylic, B66-600

3)	Third Coat:	Same as second.

2.	Paint System Su-L5: Latex, Semigloss Finish:

a.	PPG:

b.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: B66-650.	Pro Industrial Zero VOC Semi-Gloss Acrylic,

3)	Third Coat: Same as second.

3.	Paint System Su-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912.

2)	Second Coat:	Pitt Tech Plus Satin Acrylic 90-1110.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: Series.	Pro Industrial Zero VOC Satin Acrylic, B66-660

3)	Third Coat:	Same as second.

4.	Paint System Su-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Plus Primer/Finish DTM 90-912 Series.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl® Universal Primer,

2)	B66-310.

Second Coat:

ProMar 200 Low VOC Flat, B30-2600 Series.

3)	Third Coat:	Same as second.

5.	Paint System Su-D1: Water-Based Dry-Fall, Flat Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Speedhide Super Tech Dry Fall 6-725XI

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5100 Series Dry Fall.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer,

2)	B66-310.

Second Coat:

Waterborne Acrylic Dry Fall, B42W1.

3)	Third Coat:	Same as second.

6.	Paint System Su-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl® Universal Primer,

2)	Second Coat: K46-150 Series.	Pre-Catalyzed Water Based Epoxy Semi-Gloss,

3)	Third Coat:	Same as second.

E.	Steel, Factory-Primed (Sp) Substrates

1.	Paint System Sp-L6: Latex, Gloss Finish:

a.	PPG:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Pitt-Tech Plus High Gloss DTM 90-1310 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

barrier coat.	Touch-up primer if compatible, or provide

2)	Second Coat: Series.	Pro Industrial Zero VOC Gloss Acrylic, B66-600

3)	Third Coat:	Same as second

2.	Paint System Sp-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Pitt Tech Plus Semi-Gloss Acrylic 90-1210.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

barrier coat.	Touch-up primer if compatible, or provide

2)	Second Coat: B66-650.	Pro Industrial Zero VOC Semi-Gloss Acrylic,

3)	Third Coat:	Same as second.

3.	Paint System Sp-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Pitt Tech Plus Satin Acrylic 90-1110.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Rust-Oleum Sierra Performance Beyond No VOC Acrylic Satin Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

barrier coat.	Touch-up primer if compatible, or provide

2)	Second Coat: Series.	Pro Industrial Zero VOC Satin Acrylic, B66-660

3)	Third Coat:	Same as second.

4.	Paint System Sp-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Perma White Interior Acrylic Matte Egg.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Touch-up primer if compatible, or provide

2)	barrier coat.

Second Coat:

ProMar 200 Zero VOC Flat, B30-2600 Series.

3)	Third Coat:	Same as second.

5.	Paint System Sp-D1: Water-Based Dry-Fall, Flat Finish:

a.	PPG:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Speedhide Super Tech Dry Fall 6-725XI.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Rust-Oleum 5100 Acrylic Dry Fall.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Touch-up primer if compatible, or provide

2)	barrier coat.

Second Coat:

Waterborne Acrylic Dry Fall, B42W1.

3)	Third Coat:	Same as second.

6.	Paint System Sp-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Touch-up primer if compatible, or provide barrier coat.

2)	Second Coat:	Sierra Performance S60 No VOC WB Epoxy Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

barrier coat.	Touch-up primer if compatible, or provide

2)	Second Coat: K46-150 Series.	Pre-Catalyzed Water Based Epoxy Semi-Gloss,

3)	Third Coat:	Same as second.

F.	Steel, Galvanized (Sg) Substrates

1.	Paint System Sg-L6: Latex, Gloss Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Plus Primer/Finish DTM 90-912 Series.

2)	Second Coat:	Pitt-Tech Plus High Gloss DTM 90-1310 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: Series.	Pro Industrial Zero VOC Gloss Acrylic, B66-600

3)	Third Coat:	Same as second.

2.	Paint System Sg-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Pitt Tech Plus Semi-Gloss Acrylic 90-1210

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: B66-650.	Pro Industrial Zero VOC Semi-Gloss Acrylic,

3)	Third Coat:	Same as second.

3.	Paint System Sg-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Pitt Tech Plus Satin Acrylic 90-1110.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum Sierra Performance Beyond No VOC Acrylic Satin Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: Series.	Pro Industrial Zero VOC Satin Acrylic, B66-660

3)	Third Coat:	Same as second.

4.	Paint System Sg-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Plus Primer/Finish DTM 90-912 Series.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer,

2)	B66-310.

Second Coat:

ProMar 200 Zero VOC Flat, B30-2600 Series.

3)	Third Coat:	Same as second.

5.	Paint System Sg-D1: Water-Based Dry-Fall, Flat Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Speedhide Super Tech Dry Fall 6-725XI

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5100 Acrylic Dry Fall.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer,

2)	B66-310.

Second Coat:

Waterborne Acrylic Dry Fall, B42W1.

3)	Third Coat:	Same as second.

6.	Paint System Sg-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat: 16-510 Series.	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy

3)	Third Coat:	Same as second.

b.

c.

G.	Cast Iron (Ci) Substrates

1.	Paint System Ci-L6: Latex, Gloss Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Plus Primer/Finish DTM 90-912 Series.

2)	Second Coat:	Pitt-Tech Plus High Gloss DTM 90-1310 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: Series.	Pro Industrial Zero VOC Gloss Acrylic, B66-600

3)	Third Coat:	Same as second.

2.	Paint System Ci-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912.

2)	Second Coat:	Pitt Tech Plus Semi-Gloss Acrylic 90-1210.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Rust-Oleum 5200 Series Acrylic DTM Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: B66-650.	Pro Industrial Zero VOC Semi-Gloss Acrylic,

3)	Third Coat:	Same as second.

3.	Paint System Ci-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Pitt Tech Plus Satin Acrylic 90-1110.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer

2)	Second Coat:	Rust-Oleum Sierra Performance Beyond Acrylic No VOC Satin Finish

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: Series.	Pro Industrial Zero VOC Satin Acrylic, B66-660

3)	Third Coat:	Same as second.

4.	Paint System Ci-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Pitt-Tech Plus Primer/Finish DTM 90-912 Series.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer,

2)	B66-310.

Second Coat:

ProMar 200 Zero VOC Flat, B30-2600 Series.

3)	Third Coat:	Same as second.

5.	Paint System Ci-D1: Water-Based Dry-Fall, Flat Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Speedhide Super Tech Dry Fall 6-725XI

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer

2)	Second Coat:	Rust-Oleum 5100 Series Dry Fall Acrylic

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Pro Industrial Pro-Cryl Universal Primer,

2)	B66-310.

Second Coat:

Waterborne Acrylic Dry Fall, B42W1.

3)	Third Coat:	Same as second.

6.	Paint System Ci-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Pitt Tech Plus Acrylic Primer 90-912

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Rust-Oleum 5200 Series Acrylic DTM Primer

2)	Second Coat:	Sierra Performance S60 No VOC WB Epoxy Finish

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat: B66-310.	Pro Industrial Pro-Cryl Universal Primer,

2)	Second Coat: K46-150 Series.	Pre-Catalyzed Water Based Epoxy Semi-Gloss,

3)	Third Coat:	Same as second.

H.	Architectural Woodwork (Ww) Substrates

1.	Paint System Ww-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Seal Grip Latex Primer/Finish 17-951.

2)	Second Coat:	Speedhide Interior Latex Semi-Gloss 6-500.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Bulls Eye 123 Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Semi Gloss

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B28W8111.	Premium Wall & Wood Latex Primer,

2)	Second Coat:

B31-2600 Series.	ProMar 200 Zero VOC Semi-Gloss Acrylic,

3)	Third Coat:	Same as second.

2.	Paint System Ww-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Seal Grip Latex Primer/Finish 17-951.

2)	Second Coat:	Speedhide Interior Latex Eggshell 6-411.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Bulls Eye 123 Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Satin

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:

B28W8111.	Premium Wall & Wood Latex Primer,

2)	Second Coat: Series.	ProMar 200 Zero VOC Eg-Shel B20-2600

3)	Third Coat:	Same as second.

3.	Paint System Ww-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Seal Grip Latex Primer/Finish 17-951.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Bulls Eye 123 Acrylic Primer

2)	Second Coat:	Rust-Oleum 5300 Water Based Epoxy

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Premium Wall & Wood Latex Primer, B28W8111.

2)	Second Coat:	Pre-Catalyzed Water Based Epoxy Semi-Gloss, K46-150 Series.

3)	Third Coat:	Same as second.

4.	Paint System Ww-V4: Stain and Varnish, Satin Finish:

a.	PPG:

1)	First Coat:	Olympic Low VOC (<250 g/L) Oil Based Stain 44500.

2)	Second Coat:	Olympic Interior Waterbased Satin Polyurethane 42786.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Varathane Alkyd Wood Stain.

2)	Second Coat:	Varathane WB Acrylic Satin Polyurethane.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	Minwax 250 VOC Stain.

2)	Second Coat: Varnish, A68 Series.	WoodClassics Waterborne Polyurethane

3)	Third Coat:	Same as second.

I.	Gypsum Board (Gb) Substrates

1.	Paint System Gb-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Semi-Gloss 6-500.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Semi Gloss

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	ProMar 200 Zero VOC Interior Latex Semi-Gloss, B31-2600 Series.

3)	Third Coat:	Same as second.

2.	Paint System Gb-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Eggshell 6-411.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Satin

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:

B28W2600.	ProMar 200 Zero VOC Interior Latex Primer,

2)	Second Coat:

B20-2600 Series.	ProMar 200 Zero VOC Interior Latex Eg-Shel,

3)	Third Coat:	Same as second.

3.	Paint System Gb-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:

B28W2600.	ProMar 200 Zero VOC Interior Latex Primer,

2)	Second Coat:

B30-2600 Series.	ProMar 200 Zero VOC Interior Latex Flat,

3)	Third Coat:	Same as second.

4.	Paint System Gb-X5: Waterborne Epoxy System, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Sierra Performance S60 No VOC WB Epoxy Finish

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, (a) B28W2600.

(b)	Second Coat:	Pre-Catalyzed Water Based Epoxy Semi-Gloss, K46-150 Series.

(c)	Third Coat:	Same as second.

J.	Gypsum Board, Moisture-Resistant (Gm) Substrates:

1.	Paint System Gm-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer.

2)	Second Coat:	Sierra Performance S60 No VOC WB Epoxy Finish.

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	Pro Industrial Pre-Catalyzed Waterbased Epoxy

(a)	Semi-Gloss, K46-150 Series.

(b)	Third Coat:	Same as second.

2.	Paint System Gm-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-310 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer.

2)	Second Coat:	Zinsser Perma White Interior Satin Acrylic Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	Pro Industrial Pre-Catalyzed Waterbased Epoxy

(a)	Eg-Shel, K45-150 Series.

(b)	Third Coat:	Same as second.

3.	Paint System Gm-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Sierra Performance S60 No VOC WB Epoxy Finish

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:

B28W2600.	ProMar 200 Zero VOC Interior Latex Primer,

2)	Second Coat: K46-150 Series.	Pre-Catalyzed Water Based Epoxy Semi-Gloss,

3)	Third Coat:	Same as second.

4.	Paint System: Chalkboard Paint:

a.	Krylon Chalkboard Paint.

1)	First Coat:	Interior Latex Primer

2)	Second Coat:	Chalkboard paint.

3)	Third Coat:	Same as second.

K.	Pipe Insulation (Pi) Cotton/Canvas Substrates

1.	Paint System Pi-L5: Latex, Semigloss Finish:

a.	PPG:

b.

c.	S-W:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer,

2)	B28W2600.

Second Coat:

ProMar 200 Zero VOC Interior Latex

Semi-Gloss, B31-2600 Series.

1)	Third Coat:	Same as second.

2.	Paint System Pi-L3: Latex, Eggshell Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Eggshell 6-411.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Satin

3)	Third Coat:	Same as second

c.	S-W:

1)	First Coat:

B28W2600.	ProMar 200 Zero VOC Interior Latex Primer,

2)	Second Coat:

B20-2600 Series.	ProMar 200 Zero VOC Interior Latex Eg-Shel,

3)	Third Coat:	Same as second.

3.	Paint System Pi-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:

B28W2600.	ProMar 200 Zero VOC Interior Latex Primer,

2)	Second Coat:

B30-2600 Series.	ProMar 200 Zero VOC Interior Latex Flat,

3)	Third Coat:	Same as second.

4.	Paint System Pi-X5: Waterborne Epoxy, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Pitt-Glaze WB1 Pre-Catalyzed Acrylic Epoxy 16-510 Series.

3)	Third Coat:	Same as second.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer.

2)	Second Coat:	Sierra Performance S60 No VOC WB Epoxy Finish.

3)	Third Coat:	Same as second.

c.	S-W:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	Pre-Catalyzed Water Based Epoxy Semi-Gloss, K46-150 Series.

3)	Third Coat:	Same as second.

L.	Plaster (Pl) Substrates:

1.	Paint System Pl-L5: Latex, Semigloss Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Semi-Gloss 6-500.

3)	Third Coat:	Same as second coat.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Semi Gloss

3)	Third Coat:	Same as second

c.	SW:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	ProMar 200 Zero VOC Interior Latex Semi-Gloss, B31-2600 Series.

3)	Third Coat:	Same as second coat.

2.	Paint System Pl-L3, Eggshell Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Eggshell 6-411.

3)	Third Coat:	Same as second coat.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer.

2)	Second Coat:	Zinsser Perma White Interior Acrylic Satin.

3)	Third Coat:	Same as second.

c.	SW:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	ProMar 200 Zero VOC Interior Latex Eg-Shel, B20-2600 Series.

3)	Third Coat:	Same as second coat.

3.	Paint System Pl-L1: Latex, Flat Finish:

a.	PPG:

1)	First Coat:	Speedhide Interior Latex Primer 6-2.

2)	Second Coat:	Speedhide Interior Latex Flat 6-70.

3)	Third Coat:	Same as second coat.

b.	RO:

1)	First Coat:	Zinsser Dry Wall Acrylic Primer

2)	Second Coat:	Zinsser Perma White Interior Acrylic Matte Egg

3)	Third Coat:	Same as second

c.	SW:

1)	First Coat:	ProMar 200 Zero VOC Interior Latex Primer, B28W2600.

2)	Second Coat:	ProMar 200 Zero VOC Interior Latex Flat, B30-2600 Series.

3)	Third Coat:	Same as second coat.

END OF SECTION