SECTION 28 08 00 - COMMISSIONING OF FIRE ALARM SYSTEMS

PART 1 – GENERAL

  - SUMMARY

- This Section includes commissioning process requirements for Fire Alarm/Notification systems, assemblies, controls, and equipment.

- This project will have selected building systems commissioned.  The equipment and systems to be commissioned are specified “SECTION 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS”.

  - RELATED SECTIONS

- SECTION 01 91 00 – GENERAL COMMISSIONING REQUIREMENTS

- SECTION 22 08 00 – COMMISSIONING OF FIRE PROTECTION SYSTEMS

- SECTION 22 08 00 – COMMISSIONING OF PLUMBING SYSTEMS

- SECTION 23 08 00 – COMMISSIONING OF HVAC SYSTEMS

- SECTION 26 08 00 – COMMISSIONING OF ELECTRICAL SYSTEMS

  - DEFINITIONS

- Refer to Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS

  - SUBMITTALS

- Certificate of Readiness, signed by the Contractor, certifying that systems, assemblies, equipment, components, and associated controls are ready for testing.

- Manufacturer’s completed start-up reports for equipment and systems.

  - CONTRACTOR'S RESPONSIBILITIES

- Reference Project Specification Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS for details of contractor’s responsibilities related to commissioning.

- Perform commissioning tests at the direction of the CxA.

- Attend commissioning meetings.

- Provide information requested by the CxA for functional testing and for final commissioning documentation.

- Provide measuring instruments and logging devices to record test data, and provide data acquisition equipment to record data for the complete range of testing for the required test period.

- Functional testing of systems will be carried out solely by contractor’s personnel, under the direction of CxA.  Provide experienced personnel, familiar with the systems being installed under this project.

  - CxA'S RESPONSIBILITIES

- Reference Project Specification Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS.

- CxA will direct commissioning testing.

PART 2 – PRODUCTS (Not Used)

PART 3 – EXECUTION

  - GENERAL TESTING REQUIREMENTS

- Equipment Testing and Acceptance Procedures:  Testing requirements are specified in Division 28 Sections.  Provide submittals, test data, inspector record, and certification to the CxA.

- Reference Project Specification Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS for detailed requirements of commissioning of Mechanical systems.

- Provide technicians, instrumentation, and tools to perform commissioning test at the direction of the CxA.

- Test all operating modes, interlocks, control responses, and responses to normal, abnormal, and emergency conditions, and verify proper response of building automation system controllers and sensors.

- Tests will be performed using design conditions whenever possible.

  - SYSTEM START-UP

- Contractor is solely responsible for system start-up.  CxA may, at his discretion, witness start up procedures, but will not perform any Functional Testing of systems until Contractor has completed start-up and resolved all operating deficiencies, and has so certified.

  - TESTING PREPARATION

- Certify that Fire Alarm/Notification systems, subsystems, and equipment have been installed, calibrated, and started and are operating according to the Contract Documents.

- Certify that testing procedures for Fire Alarm systems have been completed and submitted, discrepancies corrected, and corrective work approved.

- Set systems, subsystems, and equipment into operating mode to be tested (e.g., normal shutdown, normal auto position, normal manual position, unoccupied cycle, emergency power, and alarm conditions).

- Inspect and verify the position of each device and interlock identified on checklists.

- Check safety cutouts, alarms, and interlocks with life-safety systems during each mode of operation.

  - FUNCTIONAL TESTING / GENERAL

- Reference Project Specification Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS for detailed requirements of commissioning of Fire Alarm systems.

- Provide measuring instruments to record test data as directed by the CxA.

  - RE-TESTING

- Reference Project Specification Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS for detailed requirements of re-testing of Fire Alarm systems.

  - SYSTEMS TO BE COMMISSIONED

- Reference Project Specification Section 01 91 00 - GENERAL COMMISSIONING REQUIREMENTS for Fire Alarm systems to be commissioned.

END OF SECTION